Multiple ROI-s implementation into NIH-Image 1.55

Developed by Pavol Rovensky in lab. of Fiona McConnell at Basel Institute for Immunology

The Basel Institue for Immunology conducts basic research in full academic freedom. The Institute was established in 1968 and commenced operation in 1971. Since its founding, the Institute has been entirely supported by F. HOFFMANN-LA ROCHE, Basel Switzerland .

This software is provided as-is without warranty of any kind, either express or implied, including

but etc.... etc... and there are few known bugs which I do not have time to fix.

Please feel free to contact me directly, I'm not subscriber of the NIH-Image mailing list now. I hope that in future I will continue the development of the multiple-ROIs.

Revision history

- July-September 1994 first release with NIH-Image 1.55 using Think Pascal

- 1 day in March 1995 ported to PPC with version 1.57 using CodeWarrior CW 5

Home address of developer :

Pavol Rovensky, M.D.

c/o Tvrdy

Lojovicka 5

142 00 Prague- Lhotka

Czech Republic

tel. ++42-2-472 82 73

e_mail:  hraba@utia.cas.cz

fax: ++42-838-211 92

Modifications of the NIH-Image program for working with multiple ROI's are very much requested by scientists. My “add-on” is  working with Ratio Images produced by the Ionvision application,  which is currently used only for acquiring the images with the Perceptics Pixepipeline digitizer card from Axiovert microscope.

The following user menu give you an impression how it functions:

The user opens all images which belongs to one experiment . The user select the item New measurement ; the cursor changes its shape and one can start to define ROI’s in the first window .

(The images are from the native moving cells, so the idea is to make ROI around one cell and then to follow with the ROI the cell in the next Image, so one can get the results of the changes in cell calcium during the whole experiment )

To define a new ROI you hold the option Key and draw with the mouse (button pressed)  a ROI, which are unique numbered in the window starting from one.

Each ROI in every window can at any time resized, moved, or deactivated/activated .  The user can select any tool from Tool palette, do any operations on the image and then return to Circle ROI tool from the User menu . This item has the same meaning like any other tool in tools palette . The picture shows R_Image with defined ROI’s . The colour of ROI could be selected from Colour Palette .

There is no  limit how many ROI-s can be defined in one window.  The ROI-s are implemented dynamically using handles and lists in memory

On the image you could see 17 ROI’s . ROI number 10 and 16 are crossed... it means they are not active so they will be not evaluated in the results file; but they can be again activated at any time in any image in the set.

Bellow follows a short explanation of the menu items:

Save and load 		- to save ROI-s and load them again

For loading ROI-s from file is necessary firs to open all images which belongs to particular circle file, because anyway the program will crash. You cannot open additional

image during working with one set, it is necessary to stop circle mode and then start new set. Here are limitations of the implementation which perhaps will be fixed in the next release.

Set ratio calibration 	-

Copy to next window 	- duplicates the whole ROI structure from the

current window into the next window .

Compute all results 	- Measure the mean of ROI-s in each window

can calculate the calcium concentration and produces a	tab character delimited text file .

The procedure use a standard Image measure procedure adapted to my special needs, but I didn't touch the kernel of the measuring procedure, only cut out some Beeps commands etc.  The measurement results are the same as from the IonVision program (we have tested it.) If you want only the mean of

a cell colour in your output file , you uncheck the  'Use calibration Checkbox" .

Clear measurement 	- clean up the memory and you can start 			again

Delete 			- delete ROI

Enable print	- procedure enables to print Image with ROI’s

The original Images are not touched with the whole ROI-selection, so it was necessary to find a way how to enable printing using standard Image procedures .

Bert Temminck  (  system@bii.ch   ), who is system manager at the Basel Institute can supply you with all information about this program and its development.

His address:

Bert Temminck

System Manager

Basel Institute for Immunology

Grenzacherstrasse 487

Postfach CH-4005

Basel

Switzerland

tel. 	++41 61 605 11 11

++41 61 605 12 76 direct

fax	++41 61605 13 64